Invitation to Tender

- Introduction

Railway Enterprise Center (REC) is seeking a provider to install an L3 Fire system compliant with BS 5839-1. The REC is approximately 24,000 sq ft, split into 20 industrial units.

Tender specification:

Supply and Install 1 x 2 loop addressable fire alarm system

Supply and install all new addressable devices throughout the units, this will consist of a mix of heat detectors, smoke detectors, manual call points and sounders.

Supply and install 1 x fire alarm isolation switch adjacent to the fire alarm panel

Commissioning of the new fire alarm system

Supply all electrical and fire alarm certification.

- Tender Requirements

It should be noted that key considerations in appointing a supplier will include, and be scored in the following areas:

- The applicant must be a current member of Staffordshire Chambers of Commerce.

- The applicant must have carried out a site visit

- Proven experience and qualifications, with a strong reputation for quality.

- High-quality products and services.

- Competitive pricing that offers excellent value for money. to meet agreed delivery timescales.

- Strong commission processes and after-care service

Expressions of Interest and /or Appointments to quote to be made by 30th November 2025 close of business at 5pm by email or telephone to Peter Barrow at: peter.barrow@staffordshirechambers.co.uk

mobile number 07956 012266

Full tender document to be completed and returned to Peter Barrow at: peter.barrow@staffordshirechambers.co.uk by 12.00 15th December 2025 but only after a site visit will they be accepted.

We look forward to receiving your response and discussing appointment times to enable quotation. We have a site plan available if required.

- Tender evaluation

Bids will be assessed on the following criteria:

| Criteria | Weighting |
| --- | --- |
| Member of the Staffordshire Chambers of Commerce | Pass/Fail |
| Site Visit carried Out | Pass/Fail |
| Experience of delivering similar service | 20% |
| Methodology and approach | 20% |
| Time Frame from start to Commission | 20% |
| Quality Assurance | 25% |
| Testing & Commissioning | 15% |

- Scoring Matrix

| Unacceptable/ Not answered | 0 |
| --- | --- |
| Minor reservations | 2 |
| Acceptable | 3 |
| Fully meets | 4 |
| Usefully exceeds | 5 |

- Timeline

| Opportunity advertised | 21.11.2025 |
| --- | --- |
| Deadline for submissions | 15.12.2025 |
| Assessment of bids | By 16.12.2025 |
| Contract award | By 17.12.2025 |
| Works to commence ASAP after award- no later than 5th January 2026 |  |

- Clarification questions

If you have any queries regarding this tender opportunity, please email Peter Barrow at the above address.

Tender Form

Company Details Name and address of Company Main Contact Details: Name: Position: Email: Tel: Year company established: Company number:

Question 1

Please detail your experience of delivering a similar service: (Max 350 words): Include previous methods of cabling routing and cable type, pressure levels and how false alarms would be minimized.

Question 2

Please detail your proposed methodology and approach to deliver this work (max 350 words) Include what fire alarm panel type is proposed and why and if there is capacity for future expansion and what your expectations are regarding working hours, site access and safety precautions.

Questions 3

Please give examples of the time frames in which you can deliver the commissioned system

Question 4

What quality controls do you have in place for each stage of the installation i.e. will all components be third party certified e.g. LPCB BAFE and will the design, installation commissioning and maintenance be carried out by a BAFE SP203-1 accredited company

Question 5

What testing and commissioning procedures will be followed

Other Information Required (not mandatory)

| Do you pay at least the Real Living Wage to employees? |  |
| --- | --- |
| If no, would you like someone to contact you with more information on how to sign up to the Real Living Wage foundation? |  |